Basic ControlLogix® PLCs Course

[BCLX]

Basic

ControlLogix® PLCs Course

Course Overview

Length: 3-days (24 hrs)

Hands-On: 75%

Target Audience: This course is designed for personnel involved in troubleshooting or maintaining ControlLogix® PLC systems. It also serves as a foundation for those who need advanced PLC and ControlLogix® knowledge or a refresher before advanced courses. Typical attendees include maintenance personnel, electricians, instrument technicians, automation personnel, engineers, and others working with ControlLogix® PLCs and Rockwell Logix software

Summary Description: This course introduces the basic operation of ControlLogix® PLCs using Studio 5000 Logix software. It covers essential principles for routine maintenance, including troubleshooting hardware and IO issues, performing minor edits, force operations, bit manipulations, and resetting faults. It also addresses common problems and mistakes in the ControlLogix® series and builds a solid foundation to prevent field issues.

Course Agenda:

Day 1

- Hardwired relays and how it relates to Ladder Logic

- PLC components intro

- Introduction to Logix Studio 5000 software

- Going online, Downloading, and Uploading programs to/from PLC

- Ladder logic basics

- Latches & Seal logic

- Scan cycle basics

DAY 2

- Batch and sequential logic

- Program layout & organization

- FORCE operations and procedures

- Timer & Counter basics

- Introduction to processor Faults

DAY 3

- PLC numbers

- Math and Compare instructions

- Analog IO

- Tasks, Programs, Routines

- Diagnostic IO

- Troubleshooting hardware problems

- Using diagnostic tools and information to troubleshoot

Hands-On Exercises (only major items or group titles listed):

This course is 75% hands-on training, using 7-slot ControlLogix®® racks with 1756 series processors, IO cards, and various communications cards. The PLC racks connect to exclusive training stations with digital and analog I/O inputs and communications cards, as well as external I/O for lab exercises. Students will use Rockwell’s Logix Studio software to download, modify, test, and observe sample programs, analyze, troubleshoot, and perform routine tasks. The labs focus on areas where instructor help is beneficial, important, or frequently misunderstood, leading to serious field problems. Hands-on exercises include:

- Hardwired relays and how it relates to Ladder Logic

- ControlLogix® series PLC components intro

- Ladder logic basics (XIC, XIO, AND/OR functionality, etc.)

- Latches & Seal logic

- Scan cycle concept basics

- Program layout, organization, & interpretation

- Common PLC procedures, precautions, tips, & tricks

- Timer & Counter basics

- PLC analog and numerical functions

- Math and Compare instructions

- Tasks, Programs, Routines

- Basics of diagnostic I/O functionality

- Introduction to Status Indicators

- Basic diagnostic tools and information to troubleshoot

- Troubleshooting I/O problems

- Introduction to ControlLogix® communications and network layouts

Student Outcomes (Course Objectives)

By the end of this course, students will be able to:

- Properly connect to ControlLogix® series processors using RSLinx®.

- Read and interpret common ladder logic programming using Studio 5000 Logix® software.

- Troubleshoot common analog or digital field device problems.

- Search and find program components, instructions, tags, or addresses.

- Make minor edits to PLC programs (online or offline) while being aware of potential hazards and protocols.

- Understand procedures and possible problems when saving, uploading, or downloading program files.

- Read, understand, and clear processor faults properly.

- Perform online data manipulations and force operations safely and correctly.

- Use and navigate Logix software effectively.

- Troubleshoot common hardware and configuration problems.

- Trace logic through programs and troubleshoot faults with field components

Team / Organizational Benefits:

This course empowers personnel to perform frontline troubleshooting and maintenance, educates them on common mistakes in PLC and ControlLogix® systems, and helps grow talent with proper training. It also increases job satisfaction and team morale by enabling technical personnel to gain true competency and enjoy working with PLC systems